## Slide 1: Oscilloscope and Power Supply Tutorial
EE 213B Module 3 Rahul Iyer

## Slide 2: Oscilloscope Overview
Oscilloscope
Oscilloscope Probe

## Slide 3: Connect the Probes to Channel 1 and 2
Align the pin and keyway, then push the connectors together.
Turn the connectors clockwise by 90 degrees to lock
Locking keyway
Locking pin

## Slide 4: Oscilloscope after Power-On
Press these button to select/enable/disable channels

## Slide 5: Making Connections to Hardware
Always check your connections before powering on the hardware!

## Slide 6: Oscilloscope Grounding!
The reference lead is connected inside the oscilloscope to Earth!
Careless reference lead connection can short parts of your circuit!

## Slide 7: Oscilloscope Grounding!
CHECK YOUR PROBE CONNECTIONS WITH AN INSTRUCTOR!

## Slide 8: Scaling the Waveforms
Adjust the vertical scaling (volts/division)
Adjust the vertical offset (volts)
Adjust the horizontal scaling (seconds/division)
Adjust the horizontal offset (relative to trigger instant)

## Slide 9: Selecting the Waveform Trigger
Open the trigger menu
Select the trigger source
Trigger Type (Rising Edge default)

## Slide 10: Adjusting the Trigger Level
Adjust the trigger level to 1.5V
Trigger Level Readout
Trigger Level Cursor

## Slide 11: Add an automated measurement
Add a measurement
Open the “measure” menu

## Slide 12: Add an automated measurement
Measurement type: frequency
Measure channel 1
Add measurement to list

## Slide 13: Add an automated measurement
Frequency Readout

## Slide 14: Measure deadtime using cursors
Open the cursor menu
If measurements are turned on, you will first need to turn them off by pressing the “Meas” button
Zoom in to see the PWM waveform edges

## Slide 15: Measure deadtime using cursors
Select the X1 cursor by pressing this knob Scroll the knob to align the X1 cursor with the falling edge of channel 2 Select the X2 cursor by pressing the knob Scroll to align X2 with rising edge of channel 1

## Slide 16: Measure deadtime using cursors
Time difference readout

## Slide 17: Save oscilloscope waveforms
Open the save menu
Connect a USB flash drive
Select file location, type, options

## Slide 18: Using the Power Supply
Select 6V channel

## Slide 19: Using the Power Supply
View/Hide voltage and current limits
Toggle voltage/current selection
Change which decimal place is being adjusted
Scroll to set value in decimal place

## Slide 20: Using the Power Supply
Turn on channel output

## Slide 21: Connect the Power Supply to the ADC pin
Ensure that you are applying no more than 3V to the microcontroller pins